Using this template

This guide is designed to help your organization build a written safety program.

You’ll need to customize the template to fit your organization—it’s not ready to use as is. We’ve made that process easier by adding visual prompts throughout the document. Look for yellow-highlighted, red text that shows where you need to add or update information.

You can (and should) change any part of the template to match your organization’s structure, such as department names, job titles, responsibilities, or procedures.

Example

Before:

<COMPANY NAME>

Sample Safety Program

After:

XYZ Company

XYZ Safety Program

Formatting tips

- To remove the yellow highlighting: Select the highlighted text, then click the highlighter icon in the Font menu.

- To change the red font to black: Select the text and click the font color icon.

You’ll also see “Check your understanding” boxes throughout the template. These help you think through how to customize certain sections. After you’ve read and completed each one, simply right-click the box and select “Cut.”

Disclaimer. This sample safety program template cannot be used as is. You must customize the template to meet the needs of your organization. EMC does not guarantee that this template is or can be relied on for compliance with any law or regulation, assurance against preventable losses, or freedom from legal liability. We make no representations or warranties of any kind whatsoever, either express or implied, in connection with the use of this template. EMC will not be liable for your use of the template as customized by you. All safety programs and policies, including this template and the information you supply to complete it, should be reviewed by your legal counsel and/or risk management staff.

<COMPANY NAME>

Fire Prevention Program

Purpose and Scope

The purpose of <Company Name's> Fire Protection Program is to protect employees from injury or death and prevent property damage caused by uncontrolled fire hazards in the workplace. This is accomplished by training employees to identify fire hazards and taking appropriate actions to correct hazardous conditions before a fire results.

This Fire Prevention Program applies to all <Company Name> employees and contractors. Any deviations from this program must be immediately brought to the attention of the Program Administrator. <Company Name’s> Emergency Action Plan covers the procedures for responding to fire emergencies.

Program Responsibilities

Management. <Company Name> is responsible for providing the tools and resources necessary to implement this program and for ensuring that the requirements in this program are being followed by all employees.

Program Administrator. The Program Administrator is responsible for:

- Ensuring each department has a copy of the program

- Ensuring all employees are trained on the program

- Scheduling training

- Stopping any unsafe work practices

- Identifying all major fire hazards

- Identifying and controlling potential ignition sources

- Developing proper storage and handling procedures for hazardous materials

- Ensuring fire control and suppression systems are properly tested and maintained

- Maintaining records pertaining to the program

- Periodically reviewing the program and updating it as needed

Supervisors. Supervisors are responsible for:

- Ensuring assigned employees are trained on the program

- Notifying the Program Administrator when changes in operation increase the risk of fire, introduce a new ignition source or introduce a new hazardous material

- Identifying and correcting any unsafe acts or conditions immediately

- Identifying approved storage areas for combustible materials to employees

Employees. All employees are responsible for:

- Attending assigned training

- Understanding and following all procedures in this program

- Conducting operations safely to limit the risk of fire

- Controlling the accumulation of combustible materials in their work area

- Reporting potential fire hazards to their supervisor

Housekeeping

Combustible Solid Materials

At a minimum, all waste, scrap or trash shall be disposed of at the end of each shift. Waste will be placed in the provided trash receptacles or exterior dumpsters. At no time should waste, scrap or trash be left on the floor, machines or work areas overnight. Excessive amounts of combustible materials should be removed throughout the work shift to reduce the chance of fire or if it creates another hazard such as a slip or fall.

Storage of large quantities of combustible materials is allowed only in approved areas. Limited storage will be allowed at workstations with supervisor approval. All exterior trash dumpsters shall be kept a minimum of 75 feet away from any building.

Combustible and Flammable Liquids Storage (Remove section if not applicable)

All combustible and flammable liquids and aerosol cans will be stored in the yellow flammable liquid storage cabinets or in the marked flammable liquid storage room when not in use. Flammable liquid storage cabinets are strategically located throughout our facilities and the flammable liquid storage room is located in the maintenance area. The doors of the flammable liquid storage cabinets must be kept closed at all times unless being accessed.

All combustible liquids will be kept in sealed containers when stored. All flammable liquids will be stored and distributed in approved safety cans. Non-liquid combustible materials (e.g. paper, wood, plastics, etc.) shall not be stored inside the flammable liquid storage cabinets or flammable liquid storage room. At no time shall gasoline-fueled equipment be refueled within any <Company Name> building.

Combustible and Flammable Liquid Spill Clean-up (Remove section if not applicable)

All spills of flammable or combustible liquids shall be cleaned up immediately. Rags, paper towels or other spill clean-up materials shall be disposed of immediately in the approved containers located in the <disposal location for materials used to clean up spilled combustible or flammable liquids>. All oily rags or paper towels shall be disposed of at the end of each shift in the approved/containers located in the <disposal location for materials used to clean up spilled combustible or flammable liquids>. These containers will be emptied into the trash dumpsters only on the morning of trash pick-up.

Smoking

Smoking is prohibited in all <Company Name> buildings. Outdoor designated smoking areas are identified with signage and Fire-safe metal receptacles are available for disposal of all ash and buds. Non-smoking areas will be checked periodically for evidence of discarded smoking materials.

Combustible Dust Cleaning Frequency (Remove section if not applicable)

All production floors, counters, workbenches and equipment will be swept or vacuumed at least nightly to maintain safe working conditions. At no time shall dust be blown into the air using air hoses or other devices. All other high horizontal surfaces such as cabinet tops, ducts, pipes, hoods, ledges and beams will be cleaned annually to minimize dust accumulation. High dust production areas and working surfaces will be cleaned as needed to reduce the potential for fire, slip and falls and other potential injuries. All other high horizontal surfaces in high dust production areas will be cleaned at the frequency listed below.

| LOCATION | CLEANING FREQUENCY |
| --- | --- |
| <Location combustible dust is present> | <How often the area is cleaned> |

Combustible Dust Collection Systems (Remove section if not applicable)

All dust collection systems will be located on the exterior of our buildings and designed to minimize leakage. Isolation devices designed to prevent fire propagation will be installed between each piece of equipment connected to the dust collection system. The dust collection system will be equipped with spark detection and explosion suppression systems and be grounded and bonded to dissipate all electrostatic charges. Dust collection systems will be inspected annually or upon identification of a leak.

Spray Booths (Remove section if not applicable)

Overspray on the spray booths walls, floors, ceilings and ventilation ducts shall be removed at least every six months during normal operations. In the event of above average spray volume, the Program Administrator will determine the need for additional cleanings. When spray booth filters require changing, they will be removed from the building immediately and placed in the exterior dumpsters.

Ignition Sources

<Company Name’s> buildings contain a wide variety of ignition sources and heat-producing equipment that could start a fire if not properly maintained and guarded. These ignition sources will be reviewed annually to determine if all safeguards are in place and regular maintenance has been performed to reduce the potential for a fire. The Program Administrator will perform the review using the form in Appendix A.

Electrical Sources

All employees will follow <Company Name’s> Electrical Safety Program to reduce the possibility of an electrical fire. No storage is allowed in electrical distribution closets at any time. All electrical distribution closets will remain locked at all times. A three-foot clearance must be maintained around all electrical panels. All electrical panel covers and access doors must remain closed and secured from unauthorized access.

All electrical equipment must be kept clean. Grease and dust are to be removed annually unless the equipment is located in a high dust production area (see frequency chart above).

Heating and Water Heating Units

All water heaters will be inspected annually by a trained and knowledgeable individual to ensure proper operation and that all safety devices are functioning. Heating units will be inspected in the third quarter of each year. No storage is allowed within four feet of any heating unit.

Portable Heaters

All portable heaters shall be approved by the Program Administrator. Portable electric heaters shall have tip-over protection that automatically shuts the unit off when it is tipped over. There shall be adequate clearance between the heater and any combustible materials at all times. Employees must turn off portable heaters when leaving their work areas.

Open Flames

All employees will follow <Company Name’s> Hot Work Program to reduce the possibility of sparks, slag or open flames starting a fire. Torches shall be placed so that the flames are at least 18 inches away from combustible surfaces. They will not be used in the presence of dusts, vapors, flammable or combustible liquids, paper or other combustible materials. Torches shall never be left unattended while they are burning.

Static Electricity

<Company Name> recognizes that it is impossible to completely prevent the generation of static electricity but realizes it can be reduced by preventing the buildup of static charges. One or more of the following preventive methods will be used to reduce static buildup for static-accumulating equipment:

- Grounding

- Bonding

- Maintaining a specific humidity level (usually 60-70 percent)

- Ionizing the atmosphere

When a static-accumulating piece of equipment is unnecessarily located in a hazardous area, the equipment will be relocated to a safe location.

Office Hazards

Drop cords or multi-plug strips must be authorized and provided by the Program Administrator. Extension cords must never be placed under carpets, through doorways or across walkways. Personal appliances (e.g. fans, microwaves, coffee makers) may not be used without prior approval of the Program Administrator. All non-essential electrical equipment must be turned off at the end of the workday.

Fire Detection & Protection

Note: Prior to any testing, the alarm monitoring company must be notified so that they do not dispatch to the site.

Every <Company Name> building is equipped with automatic fire sprinkler systems, heat and/or smoke detection systems, and manually operated fire alarm systems. When activated, these systems will sound alarms that can be heard throughout the building(s). All fire detection or suppression systems will automatically transmit an alarm notification to the fire department.

Sprinkler System Requirements

Automatic sprinkler systems and fire alarm systems will adhere to:

- NFPA 13 (Standard for the Installation of Sprinkler Systems)

- NFPA 20 (Installation of Stationary Pumps for Fire Protection)

- NFPA 25 (Inspection, Testing and Maintenance of Water-Based Fire Protection Systems)

- NFPA 72 (National Fire Alarm Code)

- NFPA 70 (National Electric Code)

Sprinkler System Inspections

<Company Name> maintenance staff will perform the inspections listed below on the sprinkler systems. The form in Appendix B will be used for documentation.

Monthly Inspections

- Gauge inspection

- Control valve inspection

- Sprinkler clearance

Quarterly Inspections

- Hydraulic nameplate inspection

- Fire department connection inspection

Check Your Understanding. Some state and local municipalities require certified sprinkler contractors to conduct inspections and testing, while others allow this to be done by trained in-house staff. Testing of dry-type and pre-action systems is more complicated than wet types and should be conducted by a certified sprinkler contractor regardless of local ordinances.

The following inspections and tests will be performed on the sprinkler systems by:

<Fire Sprinkler Contractor’s Name, Address and Phone Number>

Monthly Inspections

- Fire pump start test (if equipped)

Annually Inspection

- Alarm inspection

- Hanger and bracing inspection

- Piping inspection

- Sprinkler inspection

  - Inspect for proper orientation, leakage, corrosion, physical damage

  - Ensure there are a minimum of two spare sprinklers of each type and temperature rating

  - Ensure a sprinkler wrench is available for each type of sprinkler

- Alarm test

- Main drain test

- Fire pump performance test (if equipped)

- Valve maintenance

Fire Extinguishers

<Company Name> buildings are all equipped with portable fire extinguishers. The type and size of extinguishers will be determined by the Program Administrator in cooperation with the local fire department. These extinguishers are wall mounted and marked with signage above their location. All <Company Name> vehicles are also equipped with fire extinguishers. All employees should be aware of the fire extinguisher locations, especially those nearest to their normal workstation. <Company Name> does not require employees to extinguish fires. Members of the security team will be trained to evaluate and safely attempt to extinguish fires at their discretion.

Security team members will be trained in the PASS method of extinguishing fires.

P —Pull the pin on the extinguisher

A —Aim the nozzle at the base of the fire

S —Squeeze the handle

S —Sweep the nozzle side to side

All fire extinguishers will be inspected monthly using Appendix C to ensure they are in their designated location(s), have not been tampered with, and are clearly visible with nothing obstructing access. All fire extinguishers will be inspected annually by <Name of the company providing and inspecting your fire extinguishers> and recharged or repaired to ensure they are operational. A tag will be attached to show the inspection date and the signature of the person who performed the inspection.

Fire Detection

<Company Name> buildings are equipped with integrated smoke or heat detection, illuminated emergency exit signage and emergency lighting. These devices will be inspected annually by <Name of the company inspecting your fire alarms> and records will be maintained by the Program Administrator. Security staff will document and communicate any damaged, non-working or missing devices during their daily patrols to the Program Administrator. Repairs to these devices will be completed as soon as practical.

Exit Doors and Routes

All exit routes and doors shall be kept clear at all times. Exit doors must be able to open from the inside at all times without the use of keys, tools or special knowledge. Exit routes will be maintained during periods of construction, repairs or building alterations.

Contractors

All contractors performing work at <Company Name> facilities must adhere to this program. Additional requirements include:

- Flammable and combustible liquids must be removed from the facilities at the end of each day or arrangements must be made to store them within a <Company Name> flammable liquid storage cabinet.

- Flammable and combustible waste must be removed from the facilities at the end of each workday.

- Fire doors must not be blocked or fastened open.

- Wires, cables and hoses shall not pass through a doorway, preventing the door from closing completely.

- Compressed gas cylinders must be securely fastened and stored in an upright position.

Employee Training

Every employee will be trained in recognizing general fire hazards, the specific fire hazards associated with their job and the procedures to follow in the event of a fire emergency (fire response information can be found in the Emergency Action Plan). Training will consist of the following:

- Proper housekeeping practices

- Ignition source identification

- Information on fire detection and suppression systems

- Fire notification systems

- Proper response in the event of a fire

Supervisors must review the Fire Prevention Program with their employees whenever:

- The employee's responsibilities under the program change

- Approved changes are made to the program

- There is a change in the type of fire protection equipment or notification system

- A known fire hazard is added to the work environment

- A fire protection procedure fails

All training will be recorded in the Employee Training Record located in Appendix E.

Periodic Program Review

The Program Administrator will conduct an annual review to assess the program’s effectiveness. The review will consider the following:

- General safety observations

- Lessons learned from fire incidents

- Changes in operations or equipment

- New technology

- Regulatory changes

The annual review will be submitted to senior management using the form in Appendix D.

Record Retention

<Company Name> will maintain Fire Prevention Program training records for <Number of years records related to this program will be retained> years. All Fire Prevention Program records will be kept by the Program Administrator.

Revision History

<Revision 1 – date>

Appendix A - Ignition Source Survey

Date   _____________________________________          Location   _______________________________

| Ignition Source | Location | Control Method | Responsible Persons |
| --- | --- | --- | --- |

Completed by: __________________________

Appendix B - Sprinkler System Inspection

Date   _____________________________________          Location   _______________________________

Monthly Inspections

Are pressure gauges operational?				   YES        NO

Is the control valve open?					   YES        NO

Is the control valve chained and locked?				   YES        NO

Do sprinkler heads have 18 inches of clearance?			   YES        NO

If no to any of these questions, contact the Program Administrator immediately.

Quarterly Inspections

Is the hydraulic nameplate attached to the riser?		   YES        NO

Are the fire department connection covers in place?		   YES        NO

If no to any of these questions, contact the Program Administrator.

Completed by: __________________________

Appendix C - Fire Extinguisher Inspection

Date   _____________________________________          Location   _______________________________

| Extinguisher Location | Is the extinguisher properly charged? | Is the inspection tag in place? | Is the extinguisher securely mounted? | Is the safety pin in place? | Is the extinguisher accessible? |
| --- | --- | --- | --- | --- | --- |

Completed by: __________________________

Appendix D – Annual Program Evaluation Report

| Date of Evaluation: | Evaluated By (list all present): |
| --- | --- |
| Written Program Reviewed: Yes No |  |
| Do injury records indicate a need for additional employee training on the Fire Prevention Program? Yes No |  |
| Have any jobs, processes or areas produced a high incidence of fire incidents or near misses? Yes No If yes, list: |  |
| Is there any record of failure to correct reported fire hazards in a timely manner? If yes, what corrective action is needed? |  |
| The following content was added/modified/removed from the written program: |  |
| Comments: |  |

Appendix E – Training Record - Fire Prevention Program

The following individuals received training on the Fire Prevention Program.

| Print Name | Sign Name |
| --- | --- |

The undersigned conducted training in accordance with <Company Name’s> Fire Prevention Program.

| Print Instructor’s Name |  |
| --- | --- |
| Instructor’s Signature |  |
| Instructor’s Title |  |
| Date of Training |  |